## 801.13a Portrait 2pg
A-25D LIGHTING INSPECTION --- VOLTAGE, AMPERAGE, INSULATION, & CONTINUITY TESTS | [5 empty] | #VALUE!
Date: |  |  | Luminaire Voltage:
Cabinet Name: |  |  | Location "L" Number:
System Voltage: |  |  | Main Route:
Cross Street: |  |  | Contract #:
County: |  |  | Section #:
Contract Letting: |  |  | Days Since Last Rain:
Soil condition: |  |  | Voltmeter Model #:
Ampmeter Model #: |  |  | Megger Model #:
Ohmmeter Model #:
Main Service Cable
Service Cable Tests | Full Load | No Load | Last Pole Phase Voltage |  | Branch Circuit Amperage
| Volts | Volts | Volts |  | Amps | Amps
Phase A-B: |  |  | A |  | B
Phase A-Neutral |  |  | C |  | D
Phase B-Neutral |  |  | E |  | F
|  |  | G |  | H
Total
Controller Ground Grid Resistance: |  |  | Ohms
Service Cable Tests
Conductor / Phase | ID | Amps | ID | Amps
Service Cable Tests | I |  | J
Phase A: | K |  | L
Phase B: | M |  | N
Neutral: | O |  | P
Phase Red 1: | Q |  | R
Phase Red 2: | S |  | T
Phase Black 1: | U |  | V
Phase Black 2: | W |  | X
| Y |  | Z
Cable Insulation Resistance Test
| MegOhms |  | MegOhms |  | MegOhms
A |  | B |  | N
C |  | D |  | N
E |  | F |  | N
G |  | H |  | N
I |  | J |  | N
K |  | L |  | N
M |  | N |  | N
O |  | P |  | N
Q |  | R |  | N
S |  | T |  | N
U |  | V |  | N
W |  | X |  | N
Y |  | Z |  | N
Main Service Cable: A |  | B |  | N
Continuity Test
Ohms
A-B
C-D
E-F
G-H
I-J
K-L
M-N
O-P
Q-R
S-T
U-V
W-X
Y-Z
Resident Engineer:
Signature: |  |  |  | Date:
Inspected By Contractor: |  |  |  | Contractor Company:
Signature: |  |  |  | Date: