The Contractor shall submit the following QC plan for cold weather placement of concrete as per the requirements of the special provision for Quality Control/Quality Assurance of Concrete Mixtures.

### Section 1.

- Project Information

Contract Number	Route	Mile Posts

### Endorsement

This plan must be approved by the Contractor’s Quality Representative or Project Manager to comply with the plans, specifications and special provisions.

Print Name	Title	Company/Firm

☐ By checking this box and typing my name below, I certify this plan has been approved by the Contractor’s Quality Manager or Project Manager.

Signature	Date

### Section 2. Winter Protection

- Overview

## Provide an overall strategy to conform to the winter protection requirements of the QC/QA of Concrete Mixtures SP including temperature dependent protection and duration of protection.

### Section 3. QC for Winter Protection

- Temperature Probes

Provide a plan to install and utilize temperature probes for structures  as per the QC/QA of Concrete Mixtures SP. Report temperature probe data in WBPM Documents – 03 Construction / 11 PC Concrete Mix Control / 07 Related Correspondence. Provide a schematic for installation location of temperature probes.

- Field Cured Cylinders

Provide a plan to use field cured cylinders during placements requiring cold weather protection as per the QC/QA of Concrete Mixtures SP. Include details including but not limited to the following:

- Type of initial curing cylinder storage

- Planned location and orientation of cylinders following initial curing to ensure field cylinders are cured in the same manner as the item

- Ages (days) to be picked up and tested

### Section 4. Corrective Action

## State scenarios in which the Contractor will implement their plan of corrective action as per the QC/QA of Concrete Mixtures SP. Provide the plan of corrective action to address these scenarios. The plan may include, but is not limited to the following:

## Increase, reduce or add heat

## Alter the winter protection method

## Extend the period of winter protection